# REQUEST FOR INFORMATION

## RFI 0033: Clarification of Water Service Connection Requirements at Proposed Meter Location

### 📋 OVERVIEW

| Field | Value |
| --- | --- |
| RFI Number | 0033 |
| Status | Complete |
| Priority | Normal |
| Workflow Step | Locked |
| Reason | Insufficient Information |
| Root Cause | Existing Condition |

### 📅 KEY DATES

| Field | Value |
| --- | --- |
| Created | Jan 28, 2026 08:34 PM |
| RFI Date | Jan 28, 2026 |
| Date Sent | Jan 28, 2026 |
| Due Date | Feb 12, 2026 |
| Date Responded | Jan 28, 2026 |
| Completed Date | Jan 28, 2026 |
| Last Modified | Jan 28, 2026 08:40 PM |

### 👥 PARTICIPANTS

| Role | Person/Team |
| --- | --- |
| Author | {'id': 9127072, 'referenceType': 1} |
| Official Responder | [{'id': 9127072, 'referenceType': 1}] |
| Assigned To | - |
| Coordinator | - |

### 📍 PROJECT REFERENCE

| Field | Value |
| --- | --- |
| Location | - |
| CSI Code | - |
| Universal Lookup 3 | Level 1 |
| Work Package | - |

## ❓ QUESTION

The contract documents indicate that the new water service connection shall be installed near the north property line; however, the civil drawings do not clearly identify the exact meter placement or whether the service is to be connected to the existing 8-inch main located along 8th Street.

## 💡 PROPOSED SOLUTION

To avoid delays and potential rework, we propose locating the new water meter and backflow assembly at the north property line within the utility easement, consistent with Toho Water Authority standard details. The service would connect directly to the existing 8-inch water main along [Street Name], pending confirmation.

If acceptable, we request written confirmation to proceed with permitting and installation based on this configuration.

## ✅ RESPONSE

THis is my response

### 💰 IMPACT ANALYSIS

| Impact Type | Details |
| --- | --- |
| Time Effect | - |
| Cost Effect | - |
| Cost Amount | - |
| Work Suspended | - |

### 📌 ADDITIONAL NOTES

Notes:

-

Owner Remarks:

-

Instructions to Responders:

-

Disclaimer:

-

### 📎 ATTACHMENTS & REFERENCES

| Field | Value |
| --- | --- |
| Media Attached | [{'id': 11316769, 'entityDef': 'kahua_Core.kahua_Media'}] |
| Reference | - |
| RFI Ref #1 | - |
| RFI Ref #2 | - |

Document Generated: January 28, 2026

RFI ID: 11749540